PowerCheck utility retrieves unformation about the power status of the system. PowerCheck can be used by HostMonitor (with “External” test method).

Format of the command line:

> powercheck.exe  [ -ls | -bf | -bl]

Parameters:

| -ls | This parameter tells utility to check AC line status and return EXITCODE with the following meanings: 0 - ONLINE 1 - BACKUP POWER 2 - OFFLINE 255 – Unknown |
| --- | --- |
| -bf | With this parameter specified utility checks battery charge status and return EXITCODE with the following meanings: 1 - HIGH 2 - LOW 4 - CRITICAL 8 - CHARGING 9 - CHARGING. Level is HIGH 10 - CHARGING. Level is LOW 12 - CHARGING. Level is CRITICAL 128 - NO BATTERY 255 – Unknown |
| -bl | With this parameter specified utility checks percentage of full battery charge remaining and return EXITCODE that represents battery level (%) or 255 if status is uknown. |